## Open WO Data
WO# | Property | Property Name | Unit | Priority | Status | Category | Brief Desc. | Problem Description | Technician Notes | Call Date | Scheduled Date | Completed Date | Employee | Actual Start | Actual Finish | Actual Hours | Amount | Call Date Parsed | Days Open | AI Priority | AI Reason
30087 | 79200 | Shake House | 31 |  | Assigned to Vendor | AC | AC not working | My A/C is out again. I turned on the ac this weekend when I got home and immediately there was a sudden noise and smell of smoke. There is no air at all. |  | 2026-05-11 09:45 | [5 empty] | 0 | 0 | 2026-05-11 09:45 | 28 | 1 | Hard emergency keyword detected (failsafe rule).
30484 | 78600 | Stadium I | S |  | Web | Leak |  | I have 3 leaks in my ceiling in my bedroom my bathroom and my living room |  | 2026-05-29 08:37 | [5 empty] | 0 | 0 | 2026-05-29 08:37 | 10 | 1 | Active leaks in multiple rooms indicate a serious risk of property damage and possible habitability issues.
30583 | 77500 | Sycamore Manor | A-1 |  | Web | Plumbing | Kitchen | May you please increase the water pressure from my kitchen sink? Also, may you do the Liquid Fire down the kitchen sink, please? Thank you for your help. |  | 2026-06-02 08:41 | [5 empty] | 0 | 0 | 2026-06-02 08:41 | 6 | 1 | Hard emergency keyword detected (failsafe rule).
30694 | 78400 | Eight on 16th | 08 | Critical | Web | Plumbing | Toilet overflowing, emergency re | The toilet is not flushing and is overflowing at the bottom, causing water to spill onto the floor. This is an emergency situation as the resident cannot use the toilet. |  | 2026-06-06 17:03 | [5 empty] | 0 | 0 | 2026-06-06 17:03 | 2 | 1 | Emergency situation due to overflowing toilet causing water spill on the floor.
30702 | 78900 | Madrid | A-1 |  | Web | Leak | Kitchen | I am submitting an urgent follow-up maintenance request regarding the ongoing water intrusion and mold issue in my kitchen. During tonight's heavy rain, water again began leaking through the kitchen wall in the same area that was previously remediated. The wall became wet, and I observed new moisture penetration and visible mold growth returning. I have attached photos documenting the current condition. In addition, water is now running down the wall and coming into contact with electrical outlets/sockets in the affected area. This presents a serious safety concern in addition to the ongoing moisture and mold issues. This problem appears to be recurring despite the previous remediation work. The photos show active water intrusion, staining, damp wall surfaces, and mold growth. Portions of the wall that were opened during the prior repair continue to show signs of moisture damage. Because the issue returns during rainfall, I am concerned that the underlying source of water intrusion has not been fully identified or repaired. I am requesting an immediate inspection of the water intrusion, evaluation of any electrical hazards, and a thorough investigation of the exterior wall, window area, and any other potential sources of water entry. I also request remediation of the new mold growth and water damage. This occurred during tonight's rain event and appears to be an active leak rather than residual moisture from previous damage. |  | 2026-06-07 22:18 | [5 empty] | 0 | 0 | 2026-06-07 22:18 | 1 | 1 | Active water intrusion poses a direct safety hazard due to contact with electrical outlets and ongoing mold issues.
30734 | 79200 | Shake House | 22 |  | Web | Leak |  | Large leak happening above air conditioning unit in front entrance hallway. |  | 2026-06-08 23:56 | [5 empty] | 0 | 0 | 2026-06-08 23:56 | 0 | 1 | Large leak poses a risk of property damage and could lead to habitability issues.
28815 | 78950 | Drake |  |  | Web |  | Oakley Group Walk - Drake/Madrid | 1. Uniform light bulb colors and miscellaneous interior bulb replacements. 2. Look into any drainage issues on the exteriors of the buildings. All the downspouts are routed except for one on right side of Madrid. Get a quote to route that problem downspout. 3. Get electrician quotes to clean up all wiring around the buildings to make it look tidy; this may include removing unused wiring. 4. Add pine straw to the bare dirt areas and beds while not covering the ground lights | [Jonathan Morton 03/26/2026 02:53 PM] Tech- check flourescent bulbs and ordered bulbs for all fixtures that match. | 2026-03-09 10:48 |  |  | morton | 2026-03-26 13:30 | 2026-03-26 14:30 | 1 | 0 | 2026-03-09 10:48 | 91 | 2 | Routine maintenance and aesthetic improvements with no immediate risks. [Escalated to P2: work order open more than 7 days.]
29158 | 74100 | Cahaba Brook | 3286 |  | Web | Doors | Screen door | My screen door is a big problem. It will not stay on the tracks and I use it multiple times a day. It is causing problems for me and I pay too much to not have access to my balcony. This is a request I have made multiple times over the last few years. Please fix it this time. | [Daniel Hall 05/13/2026 12:44 PM] Met primo to measure and order replacement door [Daniel Hall 04/24/2026 02:14 PM] Contacting vendor [Daniel Hall 04/24/2026 02:14 PM] Non Scheduled vendor to replace screen door | 2026-03-26 07:53 |  |  | dhall | 2026-04-17 09:30 | 2026-05-08 10:30 | 2 | 0 | 2026-03-26 07:53 | 74 | 2 | The screen door issue affects daily access to the balcony and has been a recurring problem.
29237 | 77900 | Ascent on 34th | 1310-B | Low | Assigned to Vendor | Other | Baseboards were not put back a... | Baseboards were not put back after leak repair. | Assigned to Steel City Construction | 2026-03-31 12:36 | [5 empty] | 0 | 0 | 2026-03-31 12:36 | 69 | 2 | This is a routine issue related to baseboards not being replaced, with no immediate risk to life or habitability. [Escalated to P2: work order open more than 7 days.]
29375 | 78600 | Stadium I | S | Medium | Web | AC | Heating and cooling system mai... | Heating and cooling system maintenance needed. |  | 2026-04-06 06:44 | [5 empty] | 0 | 0 | 2026-04-06 06:44 | 63 | 2 | Heating and cooling system maintenance needed; no immediate risk to life or habitability. [Escalated to P2: work order open more than 7 days.]
29565 | 74100 | Cahaba Brook | 3284 |  | Web | Appliance | Kitchen | My fridge has started to make a very loud noise--it used to use hum sometimes, but now it's almost like a loud grinding sound. It's not constant, but it's frequent throughout the day. | [Daniel Hall 05/13/2026 12:42 PM] Picked up parts from washer refrigeration [Daniel Hall 04/24/2026 02:11 PM] Waiting on parts [Daniel Hall 04/24/2026 02:11 PM] Tech Inspect fridge and found condenser blower motor is bad. Ordered replacement | 2026-04-13 14:31 |  |  | dhall | 2026-04-17 14:00 | 2026-05-08 09:00 | 2 | 0 | 2026-04-13 14:31 | 56 | 2 | The issue is concerning but does not pose an immediate risk to life/safety or habitability. [Escalated to P2: work order open more than 7 days.]
29660 | 78600 | Stadium I | S |  | Web | AC |  | need my AC unit checked |  | 2026-04-18 11:07 | [5 empty] | 0 | 0 | 2026-04-18 11:07 | 51 | 2 | AC issue requires attention within 24–48 hours but is not an emergency. [Escalated to P2: work order open more than 7 days.]
29719 | 77700 | Greendale | 3099 | Low | Web | Other | Back room blinds stuck; text res... | Blinds in the back room do not go up. Resident prefers to be home during maintenance visits due to their cat. Text resident day before or 30 minutes prior to arrival to secure pet. | [Daniel Hall 04/24/2026 01:57 PM] Waiting on parts [Daniel Hall 04/24/2026 01:57 PM] Tech Ordered replacement blind | 2026-04-21 12:08 |  |  | dhall | 2026-04-22 16:30 | 2026-04-22 17:00 | 0.5 | 0 | 2026-04-21 12:08 | 48 | 2 | This is a routine maintenance issue involving stuck blinds and does not pose a life/safety or habitability risk. [Escalated to P2: work order open more than 7 days.]
29804 | 78900 | Madrid | A-1 |  | Web | Leak | Kitchen | There appears to be active mold growth on the kitchen wall, likely related to moisture intrusion. There was a three month leak from Dec 25-Feb 26, so It may be connected to that. Last week they came and painted over it, and everything looked fine. Not it's coming back agressively. I am requesting inspection and remediation as soon as possible. Also I am seeing large cockroaches coming from plumbing areas, and they seem to be appearing at an increased number from recent months. |  | 2026-04-26 17:24 |  |  | morton |  |  | 0 | 0 | 2026-04-26 17:24 | 43 | 2 | Active mold growth and increasing pest issues require same-day inspection and remediation to prevent further health risks and property damage.
29834 | 76400 | Redtop at Greensprings | UNIT05 | Low | Call |  | Back door | Back door blinds need replacing | [Daniel Hall 05/13/2026 01:05 PM] Waiting on parts [Daniel Hall 05/13/2026 01:05 PM] Tech Measure and order blind | 2026-04-28 11:00 |  |  | dhall | 2026-05-11 09:00 | 2026-05-11 09:30 | 0.5 | 0 | 2026-04-28 11:00 | 41 | 2 | Routine maintenance work order for blind replacement with no immediate risk. [Escalated to P2: work order open more than 7 days.]
30008 | 78600 | Stadium I | L | High | Scheduled | Plumbing | Toilet won't fill; use bucket to | Toilet not flushing. The water is not filling up in the tank, and the resident has to use a bucket of water to flush. Maintenance has permission to enter if the resident is not home. |  | 2026-05-06 13:15 | 2026-05-06 13:15 |  |  |  |  | 0 | 0 | 2026-05-06 13:15 | 33 | 2 | The toilet not filling affects the unit's habitability and needs same-day service to restore functionality.
30042 | 73600 | Ellys | 1-307 | Medium | Web | Doors | Front door lock app still broken | The front door lock app issue was not fixed. The resident reported that the problem persists. They can't unlock the door with their phone using Geokey. | [Jonathan Morton 05/14/2026 03:29 PM] Non tech- Maria ordering new Geokey locks due to malfunctioning. | 2026-05-08 10:07 |  |  | morton | 2026-05-14 14:00 | 2026-05-14 14:01 | 0.016666 | 0 | 2026-05-08 10:07 | 31 | 2 | The persistent lock issue poses a security concern for the resident.
30055 | 73600 | Ellys | 1-510 |  | Web | Appliance | Kitchen | microwave has a crack on it. | [Jonathan Morton 05/08/2026 03:45 PM] Tech- checked microwave. Handle was broke by resident or cleaner. Someone ducted handle back on. Got model number to check for parts. | 2026-05-08 15:15 |  |  | morton | 2026-05-08 15:00 | 2026-05-08 15:30 | 0.5 | 0 | 2026-05-08 15:15 | 31 | 2 | The microwave is cracked but does not pose a life/safety or habitability issue, making it a routine repair. [Escalated to P2: work order open more than 7 days.]
30131 | 79100 | The Nolan | 2B |  | Web | Doors |  | Fill in opening near front door |  | 2026-05-13 07:16 | [5 empty] | 0 | 0 | 2026-05-13 07:16 | 26 | 2 | The issue is routine as it involves filling in an opening near the front door with no immediate risk to safety or habitability. [Escalated to P2: work order open more than 7 days.]
30168 | 78600 | Stadium I | I | Low | Call | AC | Clean vent, fix knobs, repair fa | Vent needs cleaning and is not blowing air in the back bedroom. Need door knobs. Kitchen faucet spray broken. |  | 2026-05-15 09:21 | [5 empty] | 0 | 0 | 2026-05-15 09:21 | 24 | 2 | The work order addresses non-urgent repairs and does not pose a risk to life or habitability. [Escalated to P2: work order open more than 7 days.]
30201 | 79400 | Central Station | 1620-M | Critical | Web | AC | AC service needed; temps hit 94°F. | AC needs servicing due to high outside temperatures reaching 94°F. This has been escalated to the emergency maintenance team. | [Jonathan Morton 05/18/2026 01:08 PM] Tech- checked AC unit, low side line was running which usually indicates low refrigerant. Antonio received call over weekend and didn’t check unit. Asked him if he had refrigerant. He said he was out so I scheduled with mainline. | 2026-05-17 18:07 |  |  | morton | 2026-05-18 08:00 | 2026-05-18 09:00 | 1 | 0 | 2026-05-17 18:07 | 22 | 2 | AC service is needed due to high temperatures, requiring same-day service to ensure habitability.
30210 | 73600 | Ellys | 1-307 |  | Web | Appliance | Kitchen | Dishwasher is missing the spinning arm that goes in the bottom of the washer. Front door still doesn’t unlock from the app Was wondering if it would be possible to get a screen for the balcony door ? And all the plugs now the kitchen counter/bar area do not work |  | 2026-05-18 08:42 | [5 empty] | 0 | 0 | 2026-05-18 08:42 | 21 | 2 | The issues with the dishwasher, balcony door, and kitchen plugs require same-day attention to restore functionality and safety.
30235 | 78600 | Stadium I | I | Medium | Web | Plumbing | Toilet loose; enter without resi | Toilet is loose from the floor. Permission granted for maintenance to enter without resident being present. |  | 2026-05-18 12:14 | [5 empty] | 0 | 0 | 2026-05-18 12:14 | 21 | 2 | The issue of a loose toilet is routine and does not pose an immediate risk to health or safety. [Escalated to P2: work order open more than 7 days.]
30236 | 78600 | Stadium I | I | Medium | Web | Electrical | Wall plugs won't hold; entry per | Wall plugs in every room won't hold plugs. Permission granted for maintenance to enter without resident being present. |  | 2026-05-18 12:14 | [5 empty] | 0 | 0 | 2026-05-18 12:14 | 21 | 2 | The issue affects functionality but does not pose an immediate risk to life, safety, or habitability. [Escalated to P2: work order open more than 7 days.]
30237 | 78600 | Stadium I | I | Medium | Web | Doors | Front door gap; entry permitted. | Gap in the front door. Permission granted for maintenance to enter without resident being present. |  | 2026-05-18 12:14 | [5 empty] | 0 | 0 | 2026-05-18 12:14 | 21 | 2 | The gap in the front door does not pose an immediate risk to life/safety or habitability. [Escalated to P2: work order open more than 7 days.]
30238 | 78600 | Stadium I | I | Low | Web | Doors | Back room closet missing door knob. | Closet in the back room doesn't have a door knob. Permission granted for maintenance to enter without resident being present. |  | 2026-05-18 12:17 | [5 empty] | 0 | 0 | 2026-05-18 12:17 | 21 | 2 | Routine maintenance issue with no immediate risk to habitability or safety. [Escalated to P2: work order open more than 7 days.]
30239 | 78600 | Stadium I | I | Low | Web | Other | Fix kitchen cabinet; entry permi | Kitchen cabinet needs fixing. Permission granted for maintenance to enter without resident being present. |  | 2026-05-18 12:18 | [5 empty] | 0 | 0 | 2026-05-18 12:18 | 21 | 2 | The kitchen cabinet repair is a routine issue that does not pose an immediate risk to habitability or safety. [Escalated to P2: work order open more than 7 days.]
30268 | 73700 | Murals on Niazuma | 2612-C |  | Web | Electrical | Light | outdoor light above front door not working. | [Jonathan Morton 05/20/2026 10:56 AM] Tech- checked light switch. Light fixture is bad. HDsupply does not carry. Sent link to light on HD website to Corey to order. | 2026-05-19 10:49 |  |  | morton | 2026-05-20 09:30 | 2026-05-20 10:00 | 0.5 | 0 | 2026-05-19 10:49 | 20 | 2 | The outdoor light above the front door not working poses no immediate safety or habitability risk and can be addressed in routine maintenance. [Escalated to P2: work order open more than 7 days.]
30292 | 78200 | Nova Highland | 2916-07 |  | Call |  | Patio Door | Door is detached, please advise. |  | 2026-05-20 10:20 | [5 empty] | 0 | 0 | 2026-05-20 10:20 | 19 | 2 | The patio door being detached does not pose an immediate risk to life/safety or habitability. [Escalated to P2: work order open more than 7 days.]
30315 | 78200 | Nova Highland | 2920-12 |  | Web | Electrical | Master Bath | light out in the loft closet area, also would you mind tightening the bottom door hinge on the bathroom door |  | 2026-05-21 13:05 | [5 empty] | 0 | 0 | 2026-05-21 13:05 | 18 | 2 | The light out and door hinge issues are routine and do not pose an immediate risk. [Escalated to P2: work order open more than 7 days.]
30319 | 78800 | Uptown Villas | 1428S |  | Web | Leak | Master Bath | It’s coming from the ceiling in the second bedroom |  | 2026-05-21 21:00 | [5 empty] | 0 | 0 | 2026-05-21 21:00 | 18 | 2 | Active ceiling leak poses a risk of property damage and needs same-day service.
30377 | 78950 | Drake | B-3 |  | Web | AC |  | Hey, AC unit needs filter. Also is there anyway we can quiet it or is it just a loud unit? light fixture in hallway by closet next to the bathroom needs changing/fixing as well. Thank you. |  | 2026-05-26 08:45 | [5 empty] | 0 | 0 | 2026-05-26 08:45 | 13 | 2 | The AC filter needs changing and the light fixture issue can wait for a couple of days. [Escalated to P2: work order open more than 7 days.]
30400 | 73600 | Ellys | 1-205 |  | Web | Appliance | Master Bath | Dryer won't stay on and drum isn't spinning |  | 2026-05-26 11:58 | [5 empty] | 0 | 0 | 2026-05-26 11:58 | 13 | 2 | Appliance issue that can be addressed within 24–48 hours without impacting habitability. [Escalated to P2: work order open more than 7 days.]
30402 | 79300 | Ivory House | 4 |  | Web | Appliance | Kitchen | Dimming lights are flickering in the kitchen. | [Jonathan Morton 06/04/2026 05:28 PM] Tech- checks lights. Scheduled white metro. | 2026-05-26 12:09 |  |  | morton | 2026-06-04 13:30 | 2026-06-04 14:00 | 0.5 | 0 | 2026-05-26 12:09 | 13 | 2 | Flickering lights indicate potential electrical issues that need to be addressed but are not immediate hazards. [Escalated to P2: work order open more than 7 days.]
30407 | 78600 | Stadium I | A |  | Web | Pest | Kitchen | Something is dead in the kitchen. The smell is awful. I’m assuming it’s behind the stove. |  | 2026-05-26 12:29 | [5 empty] | 0 | 0 | 2026-05-26 12:29 | 13 | 2 | The dead animal creates a sanitation issue and an unpleasant odor that needs immediate attention.
30408 | 78600 | Stadium I | A |  | Web | Leak | Master Bath | There is mold in the ceiling of the bathroom. They cut it out and replaced with new sheet rock but you can tell it’s coming back |  | 2026-05-26 12:30 | [5 empty] | 0 | 0 | 2026-05-26 12:30 | 13 | 2 | Mold in the ceiling indicates a potential ongoing leak which needs to be addressed within 24–48 hours to prevent further damage. [Escalated to P2: work order open more than 7 days.]
30435 | 78800 | Uptown Villas | 1430C | Medium | Web | Make Ready | Shower tiles unrepaired by May 2 | Falling tiles in the shower have not been repaired as previously stated. The resident has confirmed that the repair has not been completed as of May 27, 2026. |  | 2026-05-27 09:28 | [5 empty] | 0 | 0 | 2026-05-27 09:28 | 12 | 2 | Falling tiles in the shower pose a risk of injury and should be addressed within 24–48 hours. [Escalated to P2: work order open more than 7 days.]
30443 | 73500 | The William | 406 | Medium | Web | Appliance | Washer error E35, needs fixing. | The washer is not working. Resident reported the issue two weeks ago, but no one has come to look at it yet. Please send someone to fix it. The washer displays error code E35, preventing its use. |  | 2026-05-27 14:40 | [5 empty] | 0 | 0 | 2026-05-27 14:40 | 12 | 2 | The washer is not functioning and has been reported for two weeks, requiring attention within 24–48 hours. [Escalated to P2: work order open more than 7 days.]
30450 | 79300 | Ivory House | 1 |  | Web | Plumbing | Master Bath | The plunger is broken in the sink. No longer connected so can’t open or close it. | [Jonathan Morton 06/04/2026 12:36 PM] Tech- checked sink stopper and ordered parts needed. | 2026-05-27 19:11 |  |  | morton | 2026-06-04 12:00 | 2026-06-04 12:30 | 0.5 | 0 | 2026-05-27 19:11 | 12 | 2 | The broken plunger in the sink does not pose an immediate risk to habitability or safety. [Escalated to P2: work order open more than 7 days.]
30478 | 73800 | Windsor | 3905-A |  | Web | Appliance | Master Bath | overhead bathroom light blinks on and off erratically, I've tried switching the bulb. It seems to be an electrical issue |  | 2026-05-28 19:53 | [5 empty] | 0 | 0 | 2026-05-28 19:53 | 11 | 2 | This is a non-emergency electrical issue that requires attention within 24–48 hours. [Escalated to P2: work order open more than 7 days.]
30479 | 73800 | Windsor | 3905-A |  | Web | Leak | Master Bath | There is a cut-out hole behind my bathroom mirror and water will overflow into my sink from somewhere inside the hole as well as bits of dirt and debris |  | 2026-05-28 19:56 | [5 empty] | 0 | 0 | 2026-05-28 19:56 | 11 | 2 | This leak poses a risk of water damage and requires same-day attention to prevent further issues.
30485 | 78600 | Stadium I | S |  | Web | AC |  | it's about time to have my air unit checked |  | 2026-05-29 08:39 | [5 empty] | 0 | 0 | 2026-05-29 08:39 | 10 | 2 | The air conditioning unit's check does not present a life/safety issue and can be scheduled as routine maintenance. [Escalated to P2: work order open more than 7 days.]
30486 | 79200 | Shake House | 12 |  | Call | Other | Several Issues | the unsecured toilet and the washer/dryer closet door not closing properly |  | 2026-05-29 09:10 | [5 empty] | 0 | 0 | 2026-05-29 09:10 | 10 | 2 | Issues with an unsecured toilet and a closet door not closing do not present a life/safety concern and can wait for standard handling. [Escalated to P2: work order open more than 7 days.]
30490 | 79300 | Ivory House | 7 |  | Web | Electrical |  | Hi! The outdoor parking lot lights have been out for over 2 months now. I have submitted several maintenance requests about them but they have not been fixed. I understand that parts were needed to be ordered. However, it has been over 2 months. I am in and out at night. It is very dark at night and difficult to see to get out. Can you please get this fixed? Is there timeline on this? Thank you |  | 2026-05-29 15:14 | [5 empty] | 0 | 0 | 2026-05-29 15:14 | 10 | 2 | The outdoor parking lot lights being out poses a safety hazard for residents at night.
30491 | 79300 | Ivory House | 7 |  | Web | AC | Kitchen | I need my AC filter changed please it is full. Thank you! |  | 2026-05-29 15:19 | [5 empty] | 0 | 0 | 2026-05-29 15:19 | 10 | 2 | This is a routine maintenance request for a filter change without serious risk. [Escalated to P2: work order open more than 7 days.]
30501 | 77500 | Sycamore Manor | A-1 | High | Web | Leak | Bathroom ceiling leak, urgent fi | I noticed a couple of wet spots on the ceiling of the bathroom in my apartment. Also, there is water dripping along the wall over the toilet. I think there is a crack in the wet spot above the toilet.; Has Pets: No Resident has expressed urgency in resolving this issue and requests immediate attention. | [Jonathan Morton 06/03/2026 11:55 AM] Tech- met puro on site to check out ceiling snd replace blown fuse in A2. Unit A2 is dried out. | 2026-05-29 21:04 |  |  | morton | 2026-06-03 11:00 | 2026-06-03 11:30 | 0.5 | 0 | 2026-05-29 21:04 | 10 | 2 | Bathroom ceiling leak presents a risk of property damage and requires immediate attention.
30504 | 73600 | Ellys | 1-408 |  | Web | Leak |  | leak from the ceiling of the living room |  | 2026-05-30 09:29 | [5 empty] | 0 | 0 | 2026-05-30 09:29 | 9 | 2 | The leak from the ceiling of the living room poses a risk of further water damage and should be addressed urgently.
30507 | 73700 | Murals on Niazuma | 2612-M |  | Web | Leak | Master Bath | Vent is leaking again |  | 2026-05-30 13:24 | [5 empty] | 0 | 0 | 2026-05-30 13:24 | 9 | 2 | The leaking vent in the master bath could lead to water damage and needs same-day service to prevent further issues.
30508 | 78800 | Uptown Villas | 1428H | NSPIRE Severe | Web | AC | AC not cooling, needs urgent rep | The air conditioning in the new unit is not working, blowing no cold air. Needs urgent repair due to high outside temperatures. The resident believes it might need freon. |  | 2026-05-30 14:20 |  |  | asmith |  |  | 0 | 0 | 2026-05-30 14:20 | 9 | 2 | The air conditioning failure in a new unit during high temperatures requires same-day service to maintain habitability.
30509 | 78800 | Uptown Villas | 1428H | High | Web | Other | Cat waste in hall closet, urgent | Cleaning issue: Cat waste and litter left in the hall closet with the hot water heater. Needs urgent cleaning. |  | 2026-05-30 14:20 | [5 empty] | 0 | 0 | 2026-05-30 14:20 | 9 | 2 | The presence of cat waste requires urgent cleaning to maintain hygiene and prevent further issues.
30516 | 79400 | Central Station | 1612-E |  | Web | Plumbing | Master Bath | There is water dripping/ leaking in my bathroom from the ceiling and its coming down fast from upstairs apartment. It is over my toilet. I need help with ASAP before the ENTIRE ceiling drops in and mold grows! Please. It was dripping over night | [Jonathan Morton 06/01/2026 04:52 PM] Tech- found leaking should off valve upstairs in 1612J. Tightened shut off and replaced flapper. | 2026-05-31 06:05 |  |  | morton | 2026-06-01 15:30 | 2026-06-01 16:30 | 1 | 0 | 2026-05-31 06:05 | 8 | 2 | Active water leak from the ceiling poses a risk of water damage and mold growth, requiring same-day service.
30517 | 79400 | Central Station | 1612-E |  | Web | Plumbing | Master Bath | The bathtub is dripping alot of water. I ca hear the water. Lots of water wasted. I put a bag over facuet. Needs to be fixed. | [Jonathan Morton 06/03/2026 12:01 PM] Tech- checked items that were leaking in apartment. Coordinate repairs with drainwerks | 2026-05-31 06:09 |  |  | morton | 2026-06-03 11:30 | 2026-06-03 12:00 | 0.5 | 0 | 2026-05-31 06:09 | 8 | 2 | The bathtub is dripping a lot of water, indicating a plumbing issue that should be resolved within 24–48 hours to prevent further waste and potential damage. [Escalated to P2: work order open more than 7 days.]
30518 | 79400 | Central Station | 1612-E |  | Web | Plumbing | Kitchen | Kitchen facuet is constantly dripping | [Jonathan Morton 06/03/2026 12:02 PM] Tech- coordinated repairs with drainwerks and resident. | 2026-05-31 06:14 |  |  | morton | 2026-06-03 11:30 | 2026-06-03 12:00 | 0.5 | 0 | 2026-05-31 06:14 | 8 | 2 | Routine maintenance for a dripping faucet that poses no immediate risk. [Escalated to P2: work order open more than 7 days.]
30520 | 77900 | Ascent on 34th | 1310-B |  | Web | AC | AC | A/C keeps tripping breaker every time it turns on | [Jonathan Morton 06/04/2026 01:27 PM] Tech- coordinated with Mainline and resident. Changed lock at Nova that was drilled for AC company. [Jonathan Morton 06/03/2026 06:49 PM] Tech- scheduled mainline for tomorrow and put lockbox on door so resident can leave key. | 2026-05-31 10:43 |  |  | morton | 2026-06-03 16:00 | 2026-06-04 13:00 | 1.5 | 0 | 2026-05-31 10:43 | 8 | 2 | A/C tripping the breaker indicates an urgent electrical hazard that requires same-day service.
30525 | 76700 | The Woodley | 3203D | Medium | Web | Make Ready | Finish bathroom repairs. | Unfinished bathroom repairs need to be completed. | [Daniel Hall 06/05/2026 04:33 PM] Contacting vendor [Daniel Hall 06/05/2026 04:33 PM] Non Contacted primo about tile work, scheduling with tenant | 2026-05-31 13:47 |  |  | dhall | 2026-06-04 13:30 | 2026-06-04 14:00 | 0.5 | 0 | 2026-05-31 13:47 | 8 | 2 | Unfinished bathroom repairs do not pose an immediate risk to habitability or safety. [Escalated to P2: work order open more than 7 days.]
30526 | 76700 | The Woodley | 3203D | Medium | Web | Make Ready | Kitchen blind needs replacement. | Kitchen blind was not replaced and needs attention. | [Daniel Hall 06/05/2026 04:32 PM] Waiting on parts [Daniel Hall 06/05/2026 04:32 PM] Tech Measured and ordered blind | 2026-05-31 13:47 |  |  | dhall | 2026-06-03 13:00 | 2026-06-03 13:30 | 0.5 | 0 | 2026-05-31 13:47 | 8 | 2 | The issue is a routine request for a kitchen blind replacement and does not pose any immediate risk. [Escalated to P2: work order open more than 7 days.]
30531 | 76400 | Redtop at Greensprings | UNIT02 |  | Web | AC |  | I am submitting another request for my A/C to make sure it's being seen too. The temporary unit runs all day along with the apartment's unit. The temperature inside the apartment is unacceptable (78 on the thermostat, 83 in the bedroom). My power bill has now tripled since March with both units running to try and keep the temperature somewhat comfortable. I have been as patient and understanding as I can, but I brought this to your attention in March and it is now June. Per the lease contract, I was under the assumption that the owner was to “act with customary diligence” to maintain the A/C. If the issue can't be resolved within the next five business days, I'd like to speak with someone about prorating my rate as compensation for the inconvenience and massive increase in power costs. I know there are a lot of units to manage, but three months is too long to wait. Please let me know if there is anything I can do to aid or expedite the process. I work full time in a kitchen. I pay my rent on time, cause no issues, and keep the unit in excellent shape. I feel it is very unfair to come home to an apartment that is 82 degrees. Thank you for your time. | [Daniel Hall 06/05/2026 04:00 PM] Contacting vendor [Daniel Hall 06/05/2026 04:00 PM] Non Waiting on approval of owners | 2026-05-31 20:05 |  |  | dhall | 2026-06-05 15:30 | 2026-06-05 16:00 | 0.5 | 0 | 2026-05-31 20:05 | 8 | 2 | A/C issues have persisted for over three months, causing high discomfort and increased utility costs, warranting same-day service.
30541 | 76700 | The Woodley | 3304 | Medium | Web | Electrical | 3 of 4 kitchen outlets not working. | Three out of four electrical outlets in the kitchen have stopped working since last Thursday/Friday. Only one outlet is currently working. The resident mentioned that two outlets are still not working and that an electrician was supposed to be contacted. | [Daniel Hall 06/05/2026 04:34 PM] Waiting on parts [Daniel Hall 06/05/2026 04:34 PM] Retested and getting 120v to Gfci but reset button is stuck. Ordering new Gfci [Daniel Hall 06/04/2026 01:34 PM] Contacting vendor [Daniel Hall 06/04/2026 01:34 PM] Tech Tried to reset Gfci, tested for power and checked breaker and found no issue but still not getting power. Calling electrician | 2026-06-01 09:38 |  |  | dhall | 2026-06-02 14:30 | 2026-06-02 15:00 | 0.5 | 0 | 2026-06-01 09:38 | 7 | 2 | The failure of three kitchen outlets significantly impacts the resident's ability to use essential appliances, warranting same-day service.
30562 | 78800 | Uptown Villas | 1428C |  | Web | Plumbing | Master Bath | Water line valve for the toilet will not turn off |  | 2026-06-01 15:34 | [5 empty] | 0 | 0 | 2026-06-01 15:34 | 7 | 2 | The water line valve for the toilet will not turn off, leading to potential water damage.
30581 | 77500 | Sycamore Manor | A-1 | High | Web | Leak | Urgent: Replace cracked bathroom | This is a follow-up request from last Friday's work request. On Sunday, a guy from Drain Werk and Chris and Peter from Puro Clean came and worked on the two wet spots, including the one that now has a huge crack, on the bathroom ceiling. The guy from Drain Werk cut out the plywood on the ceiling above my shower head. Chris and Peter placed two huge dehumidifiers in my bathroom. Yesterday, Brian from Puro Clean came to my apartment and just monitored. He did nothing to replace the plywood of the huge wet spot with the huge crack on the ceiling. May you please have Puro Clean or somebody to replace the remaining plywood with the huge crack and open spot and fix this issue with my bathroom ceiling? I want to be able to take a shower with my shower curtains again. Thank you for your help.; Has Pets: No Resident has expressed urgency in resolving this issue and requests immediate attention. | [Jonathan Morton 06/02/2026 03:46 PM] Tech- spoke to puroclean. Attempted to dry ceiling in place over next two days. | 2026-06-02 08:39 |  |  | morton | 2026-06-02 14:30 | 2026-06-02 15:00 | 0.5 | 0 | 2026-06-02 08:39 | 6 | 2 | The cracked bathroom ceiling poses a risk of further water damage and affects habitability, requiring same-day service.
30615 | 79700 | Silver Oaks | 1144-E |  | Web | Leak | Master Bath | We had a leak in our bathroom a couple weeks ago which was fixed, but it started forming mold in the ceiling which has spread over the shower area and the plaster is starting to crack and flake | [Jonathan Morton 06/04/2026 09:22 AM] Tech- scheduled Primo to repair affected areas. | 2026-06-03 13:47 |  |  | morton | 2026-06-04 08:30 | 2026-06-04 09:00 | 0.5 | 0 | 2026-06-03 13:47 | 5 | 2 | Mold growth and plaster damage pose health risks and require immediate attention.
30634 | 77500 | Sycamore Manor | E-3 | Critical | Web | AC | No AC since Monday; 90°F emergency. | No air conditioning since Monday. The outside temperature will reach ninety degrees Fahrenheit, which is considered a maintenance emergency. | [Jonathan Morton 06/04/2026 05:37 PM] Tech- checked AC and ordered new one. D1 called about leave. Scheduled Primo to replace wax ring in d2 and repair ceiling in d1. | 2026-06-04 15:13 |  |  | morton | 2026-06-04 16:00 | 2026-06-04 17:30 | 1.5 | 0 | 2026-06-04 15:13 | 4 | 2 | Risk keyword detected (failsafe rule).
30685 | 76700 | The Woodley |  | Critical | Web | Plumbing | Unverified call: Sink leaking, f | Reported by unverified caller (+12052222960). Sink is leaking and about to flood the kitchen. |  | 2026-06-05 23:36 | [5 empty] | 0 | 0 | 2026-06-05 23:36 | 3 | 2 | The sink is leaking and poses a risk of flooding the kitchen, necessitating same-day service.
30687 | 78800 | Uptown Villas | 1430F | Medium | Web | Electrical | Kitchen breaker out, needs reset. | The breaker has gone out and needs to be turned back on. The kitchen is affected. Maintenance has permission to enter the apartment to address the issue. |  | 2026-06-06 09:23 | [5 empty] | 0 | 0 | 2026-06-06 09:23 | 2 | 2 | The kitchen breaker outage affects essential kitchen appliances and should be resolved the same day to maintain habitability.
30698 | 76700 | The Woodley | 3205E | High | Web | AC | HVAC leaking; tech missed visit. | Water is pouring from the HVAC unit. The issue persists as the HVAC technician did not visit the apartment as scheduled. |  | 2026-06-07 09:30 | [5 empty] | 0 | 0 | 2026-06-07 09:30 | 1 | 2 | Active water leak from the HVAC unit poses a risk to property and requires same-day service.
30700 | 76500 | V Apartments | 1900A | Medium | Web | Pest | Ant infestation returned, signif | Ant infestation in the apartment. Resident reports that the ants have returned and there is a significant number. |  | 2026-06-07 16:51 |  |  | dhall |  |  | 0 | 0 | 2026-06-07 16:51 | 1 | 2 | The significant ant infestation in the apartment requires same-day service to prevent further escalation and ensure tenant satisfaction.
30709 | 76700 | The Woodley | 3304 | Medium | Web | Electrical | Kitchen light fixture inconsiste | The light fixture in the kitchen is not working consistently, going out for several hours or days. This issue has been ongoing for about three weeks. The resident mentioned difficulty seeing in the kitchen at night and that an electrician was supposed to be contacted. |  | 2026-06-08 09:43 | [5 empty] | 0 | 0 | 2026-06-08 09:43 | 0 | 2 | The inconsistent kitchen light affects visibility and needs same-day service to ensure safety for the resident.
30710 | 78200 | Nova Highland | 2920-05 | Medium | Web | Plumbing | Toilet issue unresolved, contrac | The toilet issue has not been resolved. The contractor needs to return to fix the toilet. |  | 2026-06-08 10:22 | [5 empty] | 0 | 0 | 2026-06-08 10:22 | 0 | 2 | The unresolved toilet issue needs same-day service to restore functionality.
30715 | 79100 | The Nolan | 4B | Medium | Web | Doors | Garage door won't shut; inspect/ | Garage door is not shutting properly. Please inspect and repair the issue. |  | 2026-06-08 11:59 | [5 empty] | 0 | 0 | 2026-06-08 11:59 | 0 | 2 | The garage door not shutting properly poses a security risk and needs same-day service.
30722 | 78200 | Nova Highland | 2916-07 |  | Web | AC |  | Ceiling around vent is caving in and breaking. Thermostat also does not work properly. Air temperature does not adjust when you make changes on the thermostat |  | 2026-06-08 14:32 | [5 empty] | 0 | 0 | 2026-06-08 14:32 | 0 | 2 | Ceiling damage could indicate a larger issue and the malfunctioning thermostat affects climate control, requiring same-day attention.
30723 | 78200 | Nova Highland | 2916-07 |  | Web | AC |  | Ceiling around vent is caving in and breaking. Thermostat also does not work properly. Air temperature does not adjust when you make changes on the thermostat |  | 2026-06-08 14:33 | [5 empty] | 0 | 0 | 2026-06-08 14:33 | 0 | 2 | The ceiling damage around the vent indicates a possible hazard and the thermostat issue needs same-day service to ensure proper AC function.
30728 | 76700 | The Woodley | 3201C | High | Web | Plumbing | Toilet backed up, needs repair. | The toilet is backed up and needs repair. |  | 2026-06-08 18:21 | [5 empty] | 0 | 0 | 2026-06-08 18:21 | 0 | 2 | The backed-up toilet affects habitability and requires same-day service to restore functionality.
30732 | 79500 | Steel City Flats | 206 | High | Web | Leak | Window leaking, wetting curtains | The window is leaking again, causing the curtains and blinds to get wet. |  | 2026-06-08 20:00 | [5 empty] | 0 | 0 | 2026-06-08 20:00 | 0 | 2 | The window leak is causing damage to curtains and blinds, requiring same-day service.
30735 | 76400 | Redtop at Greensprings | UNIT02 |  | Web | AC |  | My A/C is STILL not fixed and I haven't been given any updates. I'm submitting this work order at one in the morning because my fiancé and I are SWEATING trying to go to sleep. It is 83 degrees in the apartment. I have been patient. I need to hear something about a timeline on this repair or we will be seeking other housing arrangements. Thank you. |  | 2026-06-09 00:54 | [5 empty] | 0 | 0 | 2026-06-09 00:54 | -1 | 2 | The A/C is not functioning in hot weather, causing discomfort and potentially threatening habitability.
30741 | 76700 | The Woodley | 3201B |  | Web | Plumbing | Master Bath | The water to the toilet is not coming on. Also my AC unit is not working. |  | 2026-06-09 07:28 | [5 empty] | 0 | 0 | 2026-06-09 07:28 | -1 | 2 | Loss of water supply and non-functioning AC requires same-day attention for habitability.
30543 | 79400 | Central Station | 1612-N |  | Call |  | frig leaking/GFCI check |  | [Jonathan Morton 06/01/2026 05:34 PM] Tech- gfi is getting power, will order fridge seal. | 2026-06-01 09:55 |  |  | morton | 2026-06-01 17:00 | 2026-06-01 17:30 | 0.5 | 0 | 2026-06-01 09:55 | 7 | 3 | Fridge leaking needs to be addressed within 24–48 hours to prevent further damage.
30635 | 76500 | V Apartments | 1908D | Critical | Web | Doors |  | Closet door in my son’s room (back left bedroom) has completely come off the tracks. It is leaning against the wall. Please fix and check all other closet doors. Most all of them are loose and/or not on the tracks completely. The ones for the laundry have been broken since I moved in. |  | 2026-06-04 15:26 | [5 empty] | 0 | 0 | 2026-06-04 15:26 | 4 | 3 | The closet door is off the tracks and needs repair, but it does not pose an immediate safety or habitability issue.
30673 | 79100 | The Nolan | 4B | Medium | Web | Plumbing | Sink leak; water off. Notify bef | Sink is leaking but has been stopped by turning off the water. Resident requests maintenance to inspect and fix the issue. Notify resident before entry due to dog. |  | 2026-06-05 16:02 | [5 empty] | 0 | 0 | 2026-06-05 16:02 | 3 | 3 | Sink leak poses a risk of property damage if not addressed within 24–48 hours.
30686 | 79400 | Central Station | 1612-D |  | Web | Plumbing | Master Bath | Tub is not draining properly |  | 2026-06-06 06:24 | [5 empty] | 0 | 0 | 2026-06-06 06:24 | 2 | 3 | The tub not draining properly does not constitute an emergency and can be addressed within 24–48 hours.
30696 | 76700 | The Woodley | 3205H |  | Web | AC |  | Stopped blowing cool air |  | 2026-06-07 07:43 | [5 empty] | 0 | 0 | 2026-06-07 07:43 | 1 | 3 | The AC stopped blowing cool air and requires attention within 24–48 hours.
30712 | 78200 | Nova Highland | 2920-05 | Medium | Web | Plumbing | Persistent odor near washer/dryer. | There is a persistent smell near the washer/dryer area that has not been resolved. |  | 2026-06-08 10:22 | [5 empty] | 0 | 0 | 2026-06-08 10:22 | 0 | 3 | Persistent odor could indicate a plumbing issue that requires attention within 24–48 hours.
30713 | 78200 | Nova Highland | 2920-05 | Medium | Web | Appliance | Washing machine unresolved, repl | The washing machine issue has not been resolved. Replacement may be needed. |  | 2026-06-08 10:22 | [5 empty] | 0 | 0 | 2026-06-08 10:22 | 0 | 3 | Washing machine issues require resolution but do not pose an immediate risk to safety or habitability.
30724 | 78200 | Nova Highland | 2916-07 |  | Web | Plumbing | Master Bath | No Hot Water/tub is clogging and the water is not getting hot |  | 2026-06-08 14:33 | [5 empty] | 0 | 0 | 2026-06-08 14:33 | 0 | 3 | Hot water issue affects habitability but not urgently critical.
30726 | 76400 | Redtop at Greensprings | UNIT11 | Critical | Web | Appliance | Freezer not cooling; need service. | The freezer on the fridge is not cooling. Please send someone to check it out. |  | 2026-06-08 17:13 | [5 empty] | 0 | 0 | 2026-06-08 17:13 | 0 | 3 | The freezer not cooling is important but does not require same-day service.
30738 | 73500 | The William | 407 |  | Web | Appliance |  | I recently moved into my apartment. When I went to use the dryer for the first time, it would not turn on, as if it has no power. |  | 2026-06-09 07:07 | [5 empty] | 0 | 0 | 2026-06-09 07:07 | -1 | 3 | The dryer not turning on is a medium priority issue that can be scheduled within 24–48 hours.
30561 | 78800 | Uptown Villas | 1428C |  | Web | Electrical | Kitchen | Light fixture is not working |  | 2026-06-01 15:31 | [5 empty] | 0 | 0 | 2026-06-01 15:31 | 7 | 4 | Standard work order for a non-urgent electrical issue with a light fixture.
30572 | 79600 | Places at Red Rocks | 1526-G |  | Web | Appliance | Master Bath | The bathroom tub is peeling again in several areas. Could you all schedule to resurface my bathtub June 12-14? | [Jonathan Morton 06/04/2026 05:29 PM] Tech- scheduled Max to do tub resurface on scheduled dates. | 2026-06-02 08:16 |  |  | morton | 2026-06-04 14:00 | 2026-06-04 14:30 | 0.5 | 0 | 2026-06-02 08:16 | 6 | 4 | This is a routine maintenance issue with no serious risk.
30586 | 78900 | Madrid | C-2 |  | Call |  | Mailbox Key Needed |  |  | 2026-06-02 12:47 | [5 empty] | 0 | 0 | 2026-06-02 12:47 | 6 | 4 | This is a routine request for a mailbox key, which poses no immediate risk.
30587 | 77500 | Sycamore Manor |  |  | Call |  | Replace Light - Basement Stairs |  |  | 2026-06-02 13:47 | [5 empty] | 0 | 0 | 2026-06-02 13:47 | 6 | 4 | Replacing a light in the basement stairs is a routine maintenance task with no serious risk if delayed.
30614 | 79200 | Shake House | 21 | Medium | Web | Appliance | Dryer is not drying. | Dryer is not drying. |  | 2026-06-03 13:01 | [5 empty] | 0 | 0 | 2026-06-03 13:01 | 5 | 4 | Dryer not drying does not pose an immediate risk to life or property.
30617 | 73700 | Murals on Niazuma | 2624-D |  | Call | Other | Door Gap | there is a space in the door sweep allowing light & potential pests in to the unit. I have attached a photo. |  | 2026-06-03 14:44 | [5 empty] | 0 | 0 | 2026-06-03 14:44 | 5 | 4 | The door gap allows light and potential pests but does not pose an immediate risk to safety or habitability.
30619 | 78200 | Nova Highland | 2920-16 | Low | Web | Other | Downstairs patio blinds broken; | The blinds on the downstairs patio are broken. This issue has been present since move-in. Resident requires 24-hour notice prior to entry. Entry only when resident is home. Resident does not want entry if they are not home. |  | 2026-06-03 15:44 | [5 empty] | 0 | 0 | 2026-06-03 15:44 | 5 | 4 | The broken blinds do not pose a life/safety issue and can safely be addressed later.
30643 | 73700 | Murals on Niazuma | 2620-D |  | Web | Appliance | Kitchen | Stove burners are not attached to stove | [Jonathan Morton 06/05/2026 10:39 AM] Tech- ordered drip pans for unit. | 2026-06-04 20:35 |  |  | morton | 2026-06-05 10:00 | 2026-06-05 10:30 | 0.5 | 0 | 2026-06-04 20:35 | 4 | 4 | Stove burners not attached do not pose an immediate risk to habitability or safety.
30672 | 78200 | Nova Highland | 2916-02 | Low | Web | Doors | Closet door needs to be fixed. | Closet door needs to be fixed. |  | 2026-06-05 15:35 | [5 empty] | 0 | 0 | 2026-06-05 15:35 | 3 | 4 | The closet door issue does not impact habitability or present an urgent risk.
30711 | 78200 | Nova Highland | 2920-05 | Low | Web | Doors | Closet rod issue unresolved; nee | The closet rod issue has not been resolved. A photo of the problem is requested for further context. |  | 2026-06-08 10:22 | [5 empty] | 0 | 0 | 2026-06-08 10:22 | 0 | 4 | The closet rod issue does not pose an immediate risk to life or habitability and can be addressed at a later time.
30714 | 78900 | Madrid |  |  | Call |  | Oakley Group Walk | Notes from Andrew |  | 2026-06-08 10:47 | [5 empty] | 0 | 0 | 2026-06-08 10:47 | 0 | 4 | This is a scheduled walk and does not involve any immediate maintenance issues.
30718 | 73600 | Ellys | 1-205 |  | Web | Appliance |  | Dryer drum isn't spinning. It may need a replacement part or need to be replaced. |  | 2026-06-08 12:52 | [5 empty] | 0 | 0 | 2026-06-08 12:52 | 0 | 4 | Dryer issues do not pose a risk to life/safety or habitability and can be addressed as routine maintenance.
30721 | 76700 | The Woodley | 3331D | Medium | Web | Plumbing | Sink leak stopped, needs repair. | Sink leak that has stopped but needs repair. |  | 2026-06-08 14:25 | [5 empty] | 0 | 0 | 2026-06-08 14:25 | 0 | 4 | The sink leak has stopped and does not pose an immediate risk to habitability or property damage.
30729 | 76700 | The Woodley | 3201C | Medium | Web | Make Ready | Apartment needs general cleaning. | General cleaning needed in the apartment. |  | 2026-06-08 18:21 | [5 empty] | 0 | 0 | 2026-06-08 18:21 | 0 | 4 | General cleaning is a routine task with no serious risk if delayed.